# Maintenance Response Service Levels (SLA)

Our service level commitments outline what happens when you report a fault and the timeframe in which you can expect a response.

When we receive a MyServices request, it is necessary to prioritise the work according to urgency under an agreed service level, which is derived from this priority.

Priority 1: Emergency - Immediate response within 2 hours

Priority 2: Urgent - Less than 24 hours

Priority 3: Important - Less than 3 days

Priority 4: Standard - Less than 7 days

Priority 5: As agreed with the requestor

## Typical priority 1 work

- Fire or imminent risk of fire or explosion. Gas leaks.

- Leakage of water from plumbing or heating which is not contained by local drains

- Loss of electrical supply to a building or part of a building.

- Lift breakdown with passengers inside.

- Any incident that stops teaching

## Typical priority 2 work

- Blocked drains or internal waste pipes

- Loss of other local services, such as ventilation and air conditioning.

- Water leak not causing damage to the building, such as a tap that won't turn off.

## Typical priority 3 work

- Loss of heating or hot water on a local basis within a residential room

- Replacement of cooker element when other elements are still working.

- Replacement or repairs to light fittings if other lighting exists in the room.

- Loss of electrical power where other sockets still work within the room.

- Water ingress into a room that is not causing immediate problems but could cause problems in the long term.

- Damage to an internal door that could cause security problems

## Typical priority 4 work

- Loose or missing floor tiles and paving where there is minimal safety risk.

- Replacement of cracked glass that does not give rise to security or safety risk.

- Replacement or repairs to sanitary ware fittings, such as plugs and seats.

- Adjustment of door closures or floor springs.

- Repairs to joinery items such as doors and windows, where there is no security risk.

- Re-fixing loose fixtures and fittings.

- Repairs to furniture when the damage affects the functionality of the room.

## Typical priority 5 work

- Any other non-urgent work.